## Estimate FE
PROJECT:
ADDRESS:
DATE
SR # | CSI SECT | DESCRIPTION | QUANTITY | WASTAGE (10%) | QTY WITH WASTAGE | UNIT OF MEASURMENT | MATERIAL COST/UNIT | MATERIAL TOTAL | UNIT HOURS | COST/HR | MANHOURS | LABOR TOTAL | TOTAL COST | REMARKS | TOTAL TRADE COST
| DIV.03 | CONCRETE | [12 empty] | 29358.1144
[12 empty] | Labor/Hour |  | 58
FORM WORK
1 |  | Formwork For Pad Footing: F-1 | 31.92 | 0% | 31.92 | SF | 0.91403 | 29.1758 | 0.055 | 58 | 1.7556 | 101.8248 | 131.0006
2 |  | Formwork For Wall Footing: WF-1 | 453.04 | 0% | 453.04 | SF | 0.91403 | 414.0922 | 0.055 | 58 | 24.9172 | 1445.1976 | 1859.2898
3 |  | Formwork For Thickened Slab Edge:T.S.E. | 57.5754 | 0% | 57.5754 | SF | 0.91403 | 52.6257 | 0.055 | 58 | 3.1666 | 183.6657 | 236.2913
4 |  | Formwork For 4" Concrete Slab On Grade | 56.23 | 0% | 56.23 | SF | 0.91403 | 51.3959 | 0.055 | 58 | 3.0926 | 179.3737 | 230.7696
5 |  | Formwork For Concrete Column: C2 | 106.88 | 0% | 106.88 | SF | 0.91403 | 97.6915 | 0.055 | 58 | 5.8784 | 340.9472 | 438.6387
6 |  | Formwork For Concrete Column: C3 | 58.4 | 0% | 58.4 | SF | 0.91403 | 53.3794 | 0.055 | 58 | 3.212 | 186.296 | 239.6754
7 |  | Formwork For Concrete Beam: Tb | 444.667 | 0% | 444.667 | SF | 0.91403 | 406.439 | 0.055 | 58 | 24.4567 | 1418.4877 | 1824.9267
8 |  | Formwork For Concrete Beam: B-1 | 22.207 | 0% | 22.207 | SF | 0.91403 | 20.2979 | 0.055 | 58 | 1.2214 | 70.8403 | 91.1382
9 |  | Formwork For Concrete Beam: B-2 | 15.187 | 0% | 15.187 | SF | 0.91403 | 13.8814 | 0.055 | 58 | 0.83528 | 48.4465 | 62.3279
10 |  | Formwork For Concrete Beam: B-3 | 21.727 | 0% | 21.727 | SF | 0.91403 | 19.8591 | 0.055 | 58 | 1.195 | 69.3091 | 89.1683
CONCRETE FOR FOUNDATION
11 |  | Plan Tag: F-1: Pad Footing Reinforced With 4#5 Top And Bottom Rebars Each way | 0.88667 | 8% | 0.9576 | CY | 548.418 | 525.1651 | 2.43 | 58 | 2.327 | 134.9641 | 660.1292
12 |  | Plan Tag: WF16: Continuous Footing Reinforced With 2#5 Continuous Bottom, Rebars | 11.1582 | 8% | 12.0509 | CY | 548.418 | 6608.9107 | 2.43 | 58 | 29.2836 | 1698.4488 | 8307.3595
13 |  | T.S.E: Thickened Slab Edge Reinforced With 1#5 Continuous Bottom Rebars | 0.71116 | 8% | 0.76806 | CY | 548.418 | 421.2159 | 2.43 | 58 | 1.8664 | 108.2499 | 529.4658
14 |  | Concrete For Thickened Edge | 1.5974 | 8% | 1.7252 | CY | 548.418 | 946.1307 | 2.43 | 58 | 4.1922 | 243.1497 | 1189.2804
CONCRETE FOR SLAB
15 |  | 4" Concrete Slab On Grade Reinforced With 6X6/W1.4 X W1.4 W.W.F On 10 Mill Vapor Barrier On Compacted Subgrade | 1783 | 5% | 1872.15 | SF | 2.75 | 5148.4125 | 0.021 | 58 | 39.3152 | 2280.2787 | 7428.6912
CONCRETE FOR COLUMNS
16 |  | Plan Tag: C2: Concrete Column Reinforced With 4#5 Vertical & 3#@8" O.C Shear Ties | 0.79052 | 8% | 0.85376 | CY | 548.418 | 468.2174 | 2.43 | 58 | 2.0746 | 120.3289 | 588.5463
17 |  | Plan Tag: C3: Concrete Column Reinforced With 4#5 Vertical & 3#@8" O.C Shear Ties | 0.4585 | 8% | 0.49518 | CY | 548.418 | 271.5661 | 2.43 | 58 | 1.2033 | 69.7908 | 341.3568
CONCRETE FOR BEAMS
18 |  | Plan Tag: TB: Concrete Beam Reinforced With 2#5 Top And Bottom Rebars | 5.4842 | 8% | 5.923 | CY | 548.418 | 3248.2579 | 2.43 | 58 | 14.3928 | 834.782 | 4083.0399
19 |  | Plan Tag: B-1: Concrete Beam Reinforced With 2#5 Top And Bottom Rebars | 0.26606 | 8% | 0.28734 | CY | 548.418 | 157.5844 | 2.43 | 58 | 0.69824 | 40.4982 | 198.0826
20 |  | Plan Tag: B-2: Concrete Beam Reinforced With 2#5 Top And Bottom Rebars | 0.17935 | 8% | 0.1937 | CY | 548.418 | 106.2268 | 2.43 | 58 | 0.47068 | 27.2996 | 133.5264
21 |  | Plan Tag: B-3: Concrete Beam Reinforced With 2#5 Top And Bottom Rebars | 0.26013 | 8% | 0.28094 | CY | 548.418 | 154.0728 | 2.43 | 58 | 0.68269 | 39.5957 | 193.6685
22 |  | 8" X 8" Concrete Reinforced With 2#5 Horizontal Rebars For Window Sill Beam | 0.67392 | 8% | 0.72784 | CY | 548.418 | 399.1597 | 2.43 | 58 | 1.7686 | 102.5815 | 501.7412
| DIV.04 | MASONRY | [12 empty] | 23938.4704
[12 empty] | Labor/Hour |  | 58
UNIT MASONRY (CMU)
23 |  | 8" Thick Cmu Wall | 1453 | 10% | 1598.3 | SF | 5.85 | 9350.055 | 0.133 | 58 | 212.5739 | 12329.2862 | 21679.3412
24 |  | Concrete Grout Filled For Cmu | 3.9424 | 10% | 4.3366 | CY | 380 | 1647.9232 | 2.43 | 58 | 10.538 | 611.206 | 2259.1292
| DIV.05 | METALS | [12 empty] | 2427.8893
[12 empty] | Labor/Hour |  | 55
TRUSS CONNECTERS
25 |  | Plan Tag : A : NVUCB-2 Connecter For Truss | 6 | 0% | 6 | EA | 19.99 | 119.94 | 0.13 | 55 | 0.78 | 42.9 | 162.84
26 |  | Plan Tag : B : NVSTA24 Connecter For Truss | 75 | 0% | 75 | EA | 7.99 | 599.25 | 0.13 | 55 | 9.75 | 536.25 | 1135.5
27 |  | NU-VUE Strap Ties For Wood Jack | 34 | 0% | 34 | EA | 11.27 | 383.18 | 0.13 | 55 | 4.42 | 243.1 | 626.28
28 |  | NU-VUE NVRT-18 Twisted Rafter Ties 1" X 18" Galv.14 | 7 | 0% | 7 | EA | 21.64 | 151.48 | 0.13 | 55 | 0.91 | 50.05 | 201.53
STRUCTURAL HARDWARES
29 |  | 3/4" Dia X 6" Wedge Bolt With Nuts And Washers | 12 | 0% | 12 | EA | 5.05 | 60.6 | 0.063 | 55 | 0.756 | 41.58 | 102.18
30 |  | 16D Nails | 495 | 0% | 495 | EA | 0.22 | 108.9 | 0.00333 | 55 | 1.6483 | 90.6593 | 199.5593
| DIV.06 | WOOD, PLASTICS AND COMPOSITES | [12 empty] | 63309.0721
[12 empty] | Labor/Hour |  | 60
KITCHEN MILLWORK
31 |  | 2-0" Deep Kitchen Base Cabinetry | 21 | 0% | 21 | LF | 315 | 6615 | 0.645 | 60 | 13.545 | 812.7 | 7427.7
32 |  | 1'-0" Deep Kitchen Wall Cabinetry | 21 | 0% | 21 | LF | 284 | 5964 | 0.645 | 60 | 13.545 | 812.7 | 6776.7
BATHROOM MILLWORK
33 |  | 1'-9" Deep Bathroom Base Cabinet | 9 | 0% | 9 | LF | 315 | 2835 | 0.645 | 60 | 5.805 | 348.3 | 3183.3
CLOSET/PANTRY MILLWORK
34 |  | 1'-0" Deep Closet With Racks And Shelves | 40 | 0% | 40 | LF | 215 | 8600 | 0.6 | 60 | 24 | 1440 | 10040
35 |  | 2'-0" Deep Pantry With Racks And Shelves | 11 | 0% | 11 | LF | 415 | 4565 | 0.645 | 60 | 7.095 | 425.7 | 4990.7
TRUSSES
36 |  | Pre-Engineered Wood Truss @ 24" O.C. | 2409 | 10% | 2649.9 | SF | 3.25 | 8612.175 | 0.04167 | 60 | 110.4213 | 6625.28 | 15237.455
37 |  | Girder Truss | 78.8 | 10% | 86.68 | LF | 6.25 | 541.75 | 0.0633 | 60 | 5.4868 | 329.2106 | 870.9606
BRACING,BLOCKING
38 |  | 2" X 6" Wood Fascia | 225.64 | 10% | 248.204 | LF | 1.66 | 412.0186 | 0.036 | 60 | 8.9353 | 536.1206 | 948.1393
39 |  | 2" X 4" Yellow Pine Wood Lateral Bracing | 159.06 | 10% | 174.966 | LF | 1.11 | 194.2123 | 0.036 | 60 | 6.2988 | 377.9266 | 572.1388
40 |  | 2" X 4" Yellow Pine No.2 Wood Jack | 200.73 | 10% | 220.803 | LF | 1.11 | 245.0913 | 0.036 | 60 | 7.9489 | 476.9345 | 722.0258
41 |  | 2" X 4" X- Wood Bracing | 101.43 | 10% | 111.573 | LF | 1.11 | 123.846 | 0.036 | 60 | 4.0166 | 240.9977 | 364.8437
42 |  | 2" X 4" Wood Sub Fascia | 225.64 | 10% | 248.204 | LF | 1.11 | 275.5064 | 0.036 | 60 | 8.9353 | 536.1206 | 811.6271
43 |  | 2" X 4" Blocking At Gable End | 72.42 | 10% | 79.662 | LF | 1.11 | 88.4248 | 0.036 | 60 | 2.8678 | 172.0699 | 260.4947
44 |  | 2" X 4" Blocking Around Attic | 3.38 | 10% | 3.718 | LF | 1.11 | 4.127 | 0.036 | 60 | 0.13385 | 8.0309 | 12.1579
45 |  | 1" X 4" P.T. Wood Continuous Fire Stopper | 165 | 10% | 181.5 | LF | 1.37 | 248.655 | 0.032 | 60 | 5.808 | 348.48 | 597.135
46 |  | 1" X 2" P.T. Wood Furring | 225.64 | 10% | 248.204 | LF | 0.69 | 171.2608 | 0.029 | 60 | 7.1979 | 431.875 | 603.1357
47 |  | (2)2" X 4" Blocking Around Attic Opening | 5.04 | 10% | 5.544 | LF | 2.22 | 12.3077 | 0.07 | 60 | 0.38808 | 23.2848 | 35.5925
SHEATHING
48 |  | 19/32" Thick Cdx Plywood Sheathing | 2321 | 10% | 2553.1 | SF | 1.28 | 3267.968 | 0.043 | 60 | 109.7833 | 6586.998 | 9854.966
49 |  | No.Of Sheets (4'-0" X 8'-0") | 73 | 0% | 73 | EA
50 |  | 8D Nails For Sheathing | 10512 | 0% | 10512 | EA
| DIV.07 | THERMAL AND MOISTURE PROTECTION | [12 empty] | 19929.8968
[12 empty] | Labor/Hour |  | 56
DAMP PROOFING AND WATERPROOFING
51 |  | #30 Felt Paper | 2322 | 10% | 2554.2 | SF | 0.8 | 2043.36 | 0.00667 | 56 | 17.0365 | 954.0448 | 2997.4048
FLASHING AND SHEET METAL
52 |  | Ridge Joint Metal Flashing | 86 | 10% | 94.6 | LF | 4.02 | 380.292 | 0.047 | 56 | 4.4462 | 248.9872 | 629.2792
53 |  | Hip Joint Metal Flashing | 78.2 | 10% | 86.02 | LF | 4.03 | 346.6606 | 0.047 | 56 | 4.0429 | 226.4046 | 573.0652
54 |  | Valley Metal Flashing | 32.1 | 10% | 35.31 | LF | 4.03 | 142.2993 | 0.047 | 56 | 1.6596 | 92.9359 | 235.2352
55 |  | 3"X3", 26 Ga. Metal Eaves Drip | 258 | 10% | 283.8 | LF | 1.53 | 434.214 | 0.02 | 56 | 5.676 | 317.856 | 752.07
ROOFING
56 |  | 5- V Crimp Metal Roofing Panel System | 2322 | 10% | 2554.2 | SF | 3.98 | 10165.716 | 0.032 | 56 | 81.7344 | 4577.1264 | 14742.8424
| DIV.08 | OPENINGS | [12 empty] | 32257.3069
[12 empty] | Labor/Hour |  | 52
DOORS AND FRAMES
57 |  | Door Tag 1: Dimensions: 5'-0"X6'-8", Door Type: French Door, Door Material: Aluminum, Frame Material: Aluminum | 1 | 0% | 1 | EA | 5250 | 5250 | 4 | 52 | 4 | 208 | 5458
58 |  | Door Tag 2: Dimensions: 6'-0"X6'-8", Door Type: Sliding Glass Door, Door Material: Aluminum/Glass, Frame Material: Aluminum | 1 | 0% | 1 | EA | 1600 | 1600 | 4 | 52 | 4 | 208 | 1808
59 |  | Door Tag 3: Dimensions: 3'-0"X6'-8", Door Type: Swing Door, Door Material: Steel, Frame Material: Wood | 1 | 0% | 1 | EA | 635 | 635 | 2 | 52 | 2 | 104 | 739
60 |  | Door Tag 4: Dimensions: 2'-8"X6'-8", Door Type: Swing Door, Door Material: Wood, Frame Material: Wood | 1 | 0% | 1 | EA | 635 | 635 | 2 | 52 | 2 | 104 | 739
61 |  | Door Tag 5: Dimensions: 2'-6"X6'-8", Door Type: Swing Door, Door Material: Wood, Frame Material: Wood | 1 | 0% | 1 | EA | 635 | 635 | 2 | 52 | 2 | 104 | 739
62 |  | Door Tag 6: Dimensions: 6'-0"X6'-8", Door Type: Bi-Fold Door, Door Material: Wood, Frame Material: Wood | 1 | 0% | 1 | EA | 975 | 975 | 2.4 | 52 | 2.4 | 124.8 | 1099.8
63 |  | Door Tag 7: Dimensions: 4'-0"X6'-8", Door Type: Bi-Fold Door, Door Material: Wood, Frame Material: Wood | 1 | 0% | 1 | EA | 800 | 800 | 2 | 52 | 2 | 104 | 904
64 |  | Door Tag 8: Dimensions: 3'-0"X6'-8", Door Type: Bi-Fold Door, Door Material: Wood, Frame Material: Wood | 1 | 0% | 1 | EA | 450 | 450 | 1.6 | 52 | 1.6 | 83.2 | 533.2
65 |  | Door Tag 9: Dimensions: 2'-8"X6'-8", Door Type: Bi-Fold Full Louver Door, Door Material: Wood, Frame Material: Wood | 1 | 0% | 1 | EA | 635 | 635 | 2 | 52 | 2 | 104 | 739
66 |  | Door Tag 10: Dimensions: 2'-0"X6'-8", Door Type: Bi-Fold Door, Door Material: Wood, Frame Material: Wood | 1 | 0% | 1 | EA | 595 | 595 | 2 | 52 | 2 | 104 | 699
67 |  | Door Tag 11: Dimensions: 9'-0"X8'-0", Door Type: Garage Door, Door Material: Steel, Frame Material: Steel | 1 | 0% | 1 | EA | 1850 | 1850 | 3.6 | 52 | 3.6 | 187.2 | 2037.2
WINDOWS
68 |  | Window Tag A: Dimensions: 12'-10"X 6'-2" Window Type: Horizontal, Window Material: Aluminum And Glass, Product Series: Mg-300 | 1 | 0% | 1 | EA | 2520 | 2520 | 8 | 52 | 8 | 416 | 2936
69 |  | Window Tag B: Dimensions: 6'-2"X 5'-3" Window Type: Horizontal, Window Material: Aluminum And Glass, Product Series: Mg-300 | 2 | 0% | 2 | EA | 1260 | 2520 | 4.68 | 52 | 9.36 | 486.72 | 3006.72
70 |  | Window Tag C: Dimensions: 4'-5"X 4'-2" Window Type: Horizontal, Window Material: Aluminum And Glass, Product Series: Mg-300 | 3 | 0% | 3 | EA | 672 | 2016 | 2.5 | 52 | 7.5 | 390 | 2406
GLAZING
71 |  | Front Elevation Glazing | 190.24 | 0% | 190.24 | SF | 34 | 6468.16 | 0.156 | 52 | 29.6774 | 1543.2269 | 8011.3869
ATTIC ACCESS
72 |  | 24" X 36" Attic Access | 1 | 0% | 1 | EA | 350 | 350 | 1 | 52 | 1 | 52 | 402
| DIV.09 | FINISHES | [12 empty] | 118109.4598
[12 empty] | Labor/Hour |  | 60
DRY WALLS
EXTERIOR WALL- 8" CMU Wall
73 |  | 1 Layer Of 1/2" Gypsum Wall Board | 961 | 10% | 1057.1 | SF | 1.34 | 1416.514 | 0.0318 | 60 | 33.6158 | 2016.9468 | 3433.4608
|  | Number Of Sheets( Assume Size 4' X 8') | 30.0312
|  | Screw | 1441.5
|  | Adhesive | 30.0312
|  | Tapping | 420.4375
74 |  | 1 Layer Of 1/2" Type "X" Gypsum Wall Board For Garage Walls | 313 | 10% | 344.3 | SF | 1.34 | 461.362 | 0.0318 | 60 | 10.9487 | 656.9244 | 1118.2864
|  | Number Of Sheets( Assume Size 4' X 8') | 9.7812
|  | Screw | 469.5
|  | Adhesive | 9.7812
|  | Tapping | 136.9375
75 |  | Glass Mat Gypsum Backer Board For Shower Areas | 117 | 10% | 128.7 | SF | 1.34 | 172.458 | 0.0318 | 60 | 4.0927 | 245.5596 | 418.0176
|  | Number Of Sheets( Assume Size 4' X 8') | 3.6562
|  | Screw | 175.5
|  | Adhesive | 3.6562
|  | Tapping | 51.1875
76 |  | Moisture Resistant Gypsum Board For Wet Areas | 237 | 10% | 260.7 | SF | 1.34 | 349.338 | 0.0318 | 60 | 8.2903 | 497.4156 | 846.7536
|  | Number Of Sheets( Assume Size 4' X 8') | 7.4062
|  | Screw | 355.5
|  | Adhesive | 7.4062
|  | Tapping | 103.6875
77 |  | 1" X 2" P.T Wood Furring Strips @16" O.C. (Wall Lf= 232.3 ) | 1628 | 10% | 1790.8 | SF | 1.48 | 2650.384 | 0.02 | 60 | 35.816 | 2148.96 | 4799.344
78 |  | R-4.1 Insulation | 1628 | 10% | 1790.8 | SF | 0.4 | 716.32 | 0.0142 | 60 | 25.4294 | 1525.7616 | 2242.0816
79 |  | Blocking For Wall Mounted Fixtures | 23 | 10% | 25.3 | LF | 2 | 50.6 | 0.02 | 60 | 0.506 | 30.36 | 80.96
80 |  | Sealant Around Door Penetrations | 193 | 10% | 212.3 | LF | 0.4 | 84.92 | 0.00667 | 60 | 1.416 | 84.9625 | 169.8825
81 |  | Caulking Around Window Penetrations | 133 | 10% | 146.3 | LF | 0.4 | 58.52 | 0.00667 | 60 | 0.97582 | 58.5493 | 117.0693
82 |  | Sealants | 928 | 10% | 1020.8 | LF | 0.4 | 408.32 | 0.00667 | 60 | 6.8087 | 408.5242 | 816.8442
INTERIOR WALL- Non-Load Bearing Interior Partition
83 |  | (1) Layer Of 1/2" Gypsum Wall Board On Both Sides | 2239 | 10% | 2462.9 | SF | 1.34 | 3300.286 | 0.0318 | 60 | 78.3202 | 4699.2132 | 7999.4992
|  | Number Of Sheets( Assume Size 4' X 8') | 69.9688
|  | Screw | 3358.5
|  | Adhesive | 69.9688
|  | Tapping | 979.5625
84 |  | Glass Mat Gypsum Backer Board For Shower Areas | 83 | 10% | 91.3 | SF | 1.34 | 122.342 | 0.0318 | 60 | 2.9033 | 174.2004 | 296.5424
|  | Number Of Sheets( Assume Size 4' X 8') | 2.5938
|  | Screw | 124.5
|  | Adhesive | 2.5938
|  | Tapping | 36.3125
85 |  | Moisture Resistant Gypsum Board For Wet Areas | 228 | 10% | 250.8 | SF | 1.34 | 336.072 | 0.0318 | 60 | 7.9754 | 478.5264 | 814.5984
|  | Number Of Sheets( Assume Size 4' X 8') | 7.125
|  | Screw | 342
|  | Adhesive | 7.125
|  | Tapping | 99.75
86 |  | 3-5/8" 25 Ga. Metal Studs @16" O.C. W/ 1-Top And 1-Bottom Runner (Wall Lf= 217.3) | 1586 | 10% | 1744.6 | SF | 2.89 | 5041.894 | 0.0317 | 60 | 55.3038 | 3318.2292 | 8360.1232
87 |  | Blocking For Wall Mounted Fixtures | 60 | 10% | 66 | LF | 2 | 132 | 0.02 | 60 | 1.32 | 79.2 | 211.2
88 |  | Sealants | 868 | 10% | 954.8 | LF | 0.4 | 381.92 | 0.00667 | 60 | 6.3685 | 382.111 | 764.031
TILING
89 |  | Wall Tiles: Ceramic Tiles | 378 | 10% | 415.8 | SF | 5.15 | 2141.37 | 0.094 | 60 | 39.0852 | 2345.112 | 4486.482
CEILING
90 |  | 1/2" Gypsum Wall Board Ceiling | 1446 | 10% | 1590.6 | SF | 1.72 | 2735.832 | 0.0297 | 60 | 47.2408 | 2834.4492 | 5570.2812
|  | Number Of Sheets( Assume Size 4' X 8') | 45.1875
|  | Screw | 2169
|  | Adhesive | 45.1875
|  | Tapping | 632.625
91 |  | 1/2" Type "X" Gypsum Wall Board Garage Ceiling | 168 | 10% | 184.8 | SF | 1.72 | 317.856 | 0.0297 | 60 | 5.4886 | 329.3136 | 647.1696
|  | Number Of Sheets( Assume Size 4' X 8') | 5.25
|  | Screw | 252
|  | Adhesive | 5.25
|  | Tapping | 73.5
92 |  | 1/2" Thick Exterior Grade CDX Plywood Sheathing On Porch Ceiling | 74 | 10% | 81.4 | SF | 1.25 | 101.75 | 0.0318 | 60 | 2.5885 | 155.3112 | 257.0612
|  | No.Of Sheets (4'-0" X 8'-0") | 2.3125
|  | 8D Nails For Sheathing | 333
93 |  | 1" X 2" P.T Wood Furring Strips @16" O.C. (Wall Lf= 215) | 1688 | 10% | 1856.8 | SF | 1.48 | 2748.064 | 0.02 | 60 | 37.136 | 2228.16 | 4976.224
94 |  | R-30 Batt Or Blown Insulation | 242 | 10% | 266.2 | SF | 0.8 | 212.96 | 0.0233 | 60 | 6.2025 | 372.1476 | 585.1076
95 |  | R-19 Batt Or Blown Insulation | 1446 | 10% | 1590.6 | SF | 0.6 | 954.36 | 0.0233 | 60 | 37.061 | 2223.6588 | 3178.0188
96 |  | Paint On Gypsum Wall Board Ceiling | 1614 | 10% | 1775.4 | SF | 0.76 | 1349.304 | 0.0232 | 60 | 41.1893 | 2471.3568 | 3820.6608
97 |  | Stucco Over 1/2" Exterior Grade CDX Plywood Sheathing On Porch Ceiling | 74 | 10% | 81.4 | SF | 7.18 | 584.452 | 0.079 | 60 | 6.4306 | 385.836 | 970.288
98 |  | Sealants | 10 | 10% | 11 | LF | 0.4 | 4.4 | 0.00667 | 60 | 0.07337 | 4.4022 | 8.8022
FLOORING
99 |  | Garage Concrete Flooring w/ 1/8" Slope | 168 | 10% | 184.8 | SF | 2.43 | 449.064 | 0.0273 | 60 | 5.045 | 302.7024 | 751.7664
100 |  | Laundry Tile Flooring | 30 | 10% | 33 | SF | 5.3 | 174.9 | 0.053 | 60 | 1.749 | 104.94 | 279.84
101 |  | Kithcen+Dinning Room Carpet Flooring | 293 | 10% | 322.3 | SF | 3.05 | 983.015 | 0.0443 | 60 | 14.2779 | 856.6734 | 1839.6884
102 |  | Pantry Carpet Flooring | 32 | 10% | 35.2 | SF | 3.05 | 107.36 | 0.0443 | 60 | 1.5594 | 93.5616 | 200.9216
103 |  | A/C Area Flooring | 9 | 10% | 9.9 | SF | 2.43 | 24.057 | 0.0273 | 60 | 0.27027 | 16.2162 | 40.2732
104 |  | Living Room Lobby Carpet Flooring | 305 | 10% | 335.5 | SF | 3.05 | 1023.275 | 0.0443 | 60 | 14.8627 | 891.759 | 1915.034
105 |  | Bedroom #1 Carpet Flooring | 116 | 10% | 127.6 | SF | 3.05 | 389.18 | 0.0443 | 60 | 5.6527 | 339.1608 | 728.3408
106 |  | Bedroom #2 Carpet Flooring | 114 | 10% | 125.4 | SF | 3.05 | 382.47 | 0.0443 | 60 | 5.5552 | 333.3132 | 715.7832
107 |  | Bedroom #3 Carpet Flooring | 124 | 10% | 136.4 | SF | 3.05 | 416.02 | 0.0443 | 60 | 6.0425 | 362.5512 | 778.5712
108 |  | Closets Carpet Flooring | 124 | 10% | 136.4 | SF | 3.05 | 416.02 | 0.0443 | 60 | 6.0425 | 362.5512 | 778.5712
109 |  | Master Bedroom Carpet Flooring | 194 | 10% | 213.4 | SF | 3.05 | 650.87 | 0.0443 | 60 | 9.4536 | 567.2172 | 1218.0872
110 |  | Bathroom Tile Flooring | 39 | 10% | 42.9 | SF | 5.3 | 227.37 | 0.053 | 60 | 2.2737 | 136.422 | 363.792
111 |  | Master Bathroom Tile Flooring | 66 | 10% | 72.6 | SF | 5.3 | 384.78 | 0.053 | 60 | 3.8478 | 230.868 | 615.648
112 |  | Porch Carpet Flooring | 74 | 10% | 81.4 | SF | 3.05 | 248.27 | 0.0443 | 60 | 3.606 | 216.3612 | 464.6312
BASE AND TRIMS
113 |  | 4" High Gypsum Veneer Base Board | 473 | 10% | 520.3 | LF | 3.79 | 1971.937 | 0.036 | 60 | 18.7308 | 1123.848 | 3095.785
114 |  | 4" High Bathroom Base Board: Ceramic Tile Base Board | 41 | 10% | 45.1 | LF | 6.23 | 280.973 | 0.125 | 60 | 5.6375 | 338.25 | 619.223
PAINTS AND COATINGS
115 |  | Paint On Gypsum Board Walls (1 Primer Coat+2 Paint Coats) | 4717 | 10% | 5188.7 | SF | 0.76 | 3943.412 | 0.0213 | 60 | 110.5193 | 6631.1586 | 10574.5706
EXTERIOR FINISHES
116 |  | 5/8" Stucco Finish | 1900 | 10% | 2090 | SF | 7.18 | 15006.2 | 0.079 | 60 | 165.11 | 9906.6 | 24912.8
117 |  | 1'-4" Wide Stucco Soffit Over Metal Lath | 335.244 | 10% | 368.7684 | SF | 7.18 | 2647.7571 | 0.079 | 60 | 29.1327 | 1747.9622 | 4395.7193
118 |  | 4" Continuous Screen Vent With Opening Min. 1/16" And Max 1/4" | 258 | 10% | 283.8 | LF | 4.84 | 1373.592 | 0.133 | 60 | 37.7454 | 2264.724 | 3638.316
119 |  | 2" X 6" Wood Fascia | 258 | 10% | 283.8 | LF | 1.66 | 471.108 | 0.036 | 60 | 10.2168 | 613.008 | 1084.116
120 |  | 2" X 4" Wood Sub-Fascia | 258 | 10% | 283.8 | LF | 1.11 | 315.018 | 0.036 | 60 | 10.2168 | 613.008 | 928.026
MISCELLANEOUS FINISHES
121 |  | Paint On Door Trims | 386 | 10% | 424.6 | LF | 0.45 | 191.07 | 0.016 | 60 | 6.7936 | 407.616 | 598.686
122 |  | Paint On Wooden Doors | 7 | 0% | 7 | EA | 32.92 | 230.44 | 0.53 | 60 | 3.71 | 222.6 | 453.04
123 |  | Paint On Steel Doors | 2 | 0% | 2 | EA | 32.92 | 65.84 | 0.53 | 60 | 1.06 | 63.6 | 129.44
| DIV.10 | SPECIALTIES | [12 empty] | 1722.09
[12 empty] | Labor/Hour |  | 51
TOILET, BATH AND LAUNDRY ACCESSORIES
124 |  | 18" Grab Bar | 2 | 0% | 2 | EA | 30 | 60 | 0.333 | 51 | 0.666 | 33.966 | 93.966
125 |  | 24" Grab Bar | 4 | 0% | 4 | EA | 29 | 116 | 0.348 | 51 | 1.392 | 70.992 | 186.992
126 |  | 36" Grab Bar | 6 | 0% | 6 | EA | 34 | 204 | 0.4 | 51 | 2.4 | 122.4 | 326.4
127 |  | Tissue Paper Dispenser | 2 | 0% | 2 | EA | 21.5 | 43 | 0.333 | 51 | 0.666 | 33.966 | 76.966
128 |  | Paper Towel Dispenser | 2 | 0% | 2 | EA | 43 | 86 | 0.5 | 51 | 1 | 51 | 137
129 |  | Soap Dispenser | 2 | 0% | 2 | EA | 158 | 316 | 0.8 | 51 | 1.6 | 81.6 | 397.6
130 |  | 2'-6" Wide Bathroom Mirror | 1 | 0% | 1 | EA | 117 | 117 | 0.533 | 51 | 0.533 | 27.183 | 144.183
131 |  | 5'-9" Wide Bathroom Mirror | 1 | 0% | 1 | EA | 291 | 291 | 1.333 | 51 | 1.333 | 67.983 | 358.983
| DIV.11 | EQUIPMENT | [12 empty] | 12040
[12 empty] | Labor/Hour |  | 52
132 |  | Washing Machine | 1 | 0% | 1 | EA | 1825 | 1825 | 4 | 52 | 4 | 208 | 2033
133 |  | Dryer | 1 | 0% | 1 | EA | 3325 | 3325 | 4 | 52 | 4 | 208 | 3533
134 |  | Refrigerator | 1 | 0% | 1 | EA | 1750 | 1750 | 4 | 52 | 4 | 208 | 1958
135 |  | Dishwasher | 1 | 0% | 1 | EA | 1775 | 1775 | 4 | 52 | 4 | 208 | 1983
136 |  | Kitchen Range With Hood | 1 | 0% | 1 | EA | 2325 | 2325 | 4 | 52 | 4 | 208 | 2533
| DIV.12 | FURNISHING | [12 empty] | 6712.608
[12 empty] | Labor/Hour |  | 52
BACKSPLASH
137 |  | 4" High Tile Backsplash At Kitchen | 21 | 0% | 21 | LF | 9 | 189 | 0.13 | 52 | 2.73 | 141.96 | 330.96
138 |  | 4" High Tile Backsplash At Bathroom | 8.3 | 0% | 8.3 | LF | 9 | 74.7 | 0.13 | 52 | 1.079 | 56.108 | 130.808
COUNTERTOP
139 |  | 1'-9" Wide Bathroom Counter Top ( No of Lavatory Openings= 3, No. of Faucet openings= 3) | 14 | 0% | 14 | SF | 53.5 | 749 | 0.571 | 52 | 7.994 | 415.688 | 1164.688
140 |  | 2'-0" Wide Kitchen Counter Top ( No of Double Compartment Sink= 1, No. of Faucet openings=1) | 36 | 0% | 36 | SF | 53.5 | 1926 | 0.571 | 52 | 20.556 | 1068.912 | 2994.912
KITCHEN ISLAND
141 |  | 4'-0"X6'-0" Kitchen Island | 1 | 0% | 1 | EA | 1890 | 1890 | 3.87 | 52 | 3.87 | 201.24 | 2091.24
| DIV.22 | PLUMBING | [12 empty] | 36806.0347
[12 empty] | Labor/Hour |  | 62
PLUMBING PIPES
Water Pipes
142 |  | 3/4" Dia Cold Water Pipe | 96 | 10% | 105.6 | LF | 6.25 | 660 | 0.113 | 62 | 11.9328 | 739.8336 | 1399.8336
143 |  | 1/2" Dia Cold Water Pipe | 66 | 10% | 72.6 | LF | 6.45 | 468.27 | 0.113 | 62 | 8.2038 | 508.6356 | 976.9056
144 |  | 1" Dia Cold Water Pipe | 62.79 | 10% | 69.069 | LF | 6.05 | 417.8675 | 0.127 | 62 | 8.7718 | 543.8493 | 961.7168
145 |  | 1/2" Dia Hot Water Pipe | 162 | 10% | 178.2 | LF | 6.45 | 1149.39 | 0.113 | 62 | 20.1366 | 1248.4692 | 2397.8592
146 |  | 1" Dia Water Service Pipe | 23.73 | 10% | 26.103 | LF | 6.05 | 157.9231 | 0.127 | 62 | 3.3151 | 205.535 | 363.4582
Sanitary Pipes
147 |  | 1-1/2" Dia Sanitary Pipe | 13 | 10% | 14.3 | LF | 9.85 | 140.855 | 0.222 | 62 | 3.1746 | 196.8252 | 337.6802
148 |  | 2" Dia Sanitary Pipe | 76 | 10% | 83.6 | LF | 11.35 | 948.86 | 0.271 | 62 | 22.6556 | 1404.6472 | 2353.5072
149 |  | 3" Dia Sanitary Pipe | 115 | 10% | 126.5 | LF | 13.1 | 1657.15 | 0.302 | 62 | 38.203 | 2368.586 | 4025.736
PLUMBING PIPE JOINTS
Domestic Water Joints
150 |  | 1" X 1" X 1/2" Dia Tee Joint | 2 | 0% | 2 | EA | 63.5 | 127 | 0.211 | 62 | 0.422 | 26.164 | 153.164
151 |  | 1" X 1" X 3/4" Dia Tee Joint | 2 | 0% | 2 | EA | 63.5 | 127 | 0.211 | 62 | 0.422 | 26.164 | 153.164
152 |  | 1" X 3/4" X 3/4" Dia Tee Joint | 1 | 0% | 1 | EA | 82 | 82 | 0.211 | 62 | 0.211 | 13.082 | 95.082
153 |  | 1/2" Dia Elbow 45* Joint | 1 | 0% | 1 | EA | 70 | 70 | 0.16 | 62 | 0.16 | 9.92 | 79.92
154 |  | 1/2" Dia Elbow Joint | 24 | 0% | 24 | EA | 70 | 1680 | 0.16 | 62 | 3.84 | 238.08 | 1918.08
155 |  | 1/2" X 1/2" X 1/2" Dia Tee Joint | 7 | 0% | 7 | EA | 80 | 560 | 0.211 | 62 | 1.477 | 91.574 | 651.574
156 |  | 3/4" Dia Elbow 45* Joint | 2 | 0% | 2 | EA | 77 | 154 | 0.16 | 62 | 0.32 | 19.84 | 173.84
157 |  | 3/4" Dia Elbow Joint | 2 | 0% | 2 | EA | 77 | 154 | 0.16 | 62 | 0.32 | 19.84 | 173.84
158 |  | 3/4" X 1" X 3/4" Dia Tee Joint | 1 | 0% | 1 | EA | 82 | 82 | 0.211 | 62 | 0.211 | 13.082 | 95.082
159 |  | 3/4" X 3/4" X 1/2" Dia Tee Joint | 3 | 0% | 3 | EA | 82 | 246 | 0.211 | 62 | 0.633 | 39.246 | 285.246
160 |  | 3/4" X 3/4" X 3/8" Dia Tee Joint | 1 | 0% | 1 | EA | 82 | 82 | 0.211 | 62 | 0.211 | 13.082 | 95.082
161 |  | 3/8" Dia Elbow Joint | 1 | 0% | 1 | EA | 75 | 75 | 0.211 | 62 | 0.211 | 13.082 | 88.082
Sanitary Joints
162 |  | 1-1/2" Dia Elbow Joint | 1 | 0% | 1 | EA | 41 | 41 | 0.242 | 62 | 0.242 | 15.004 | 56.004
163 |  | 2" Dia Elbow Joint | 27 | 0% | 27 | EA | 41 | 1107 | 0.32 | 62 | 8.64 | 535.68 | 1642.68
164 |  | 2" Dia Elbow 45* Joint | 15 | 0% | 15 | EA | 41 | 615 | 0.32 | 62 | 4.8 | 297.6 | 912.6
165 |  | 2" X 2" X 1-1/2" Dia Wye-Com Joint | 1 | 0% | 1 | EA | 63.5 | 63.5 | 0.471 | 62 | 0.471 | 29.202 | 92.702
166 |  | 2" X 2" X 2" Dia Wye Joint | 1 | 0% | 1 | EA | 63.5 | 63.5 | 0.471 | 62 | 0.471 | 29.202 | 92.702
167 |  | 2" X 2" X 2" Dia Wye-Com Joint | 2 | 0% | 2 | EA | 63.5 | 127 | 0.471 | 62 | 0.942 | 58.404 | 185.404
168 |  | 2" X 2" X 2" X 2" Y-Cross Joint | 1 | 0% | 1 | EA | 63.5 | 63.5 | 0.471 | 62 | 0.471 | 29.202 | 92.702
169 |  | 3" Dia Elbow 45* Joint | 5 | 0% | 5 | EA | 72 | 360 | 0.485 | 62 | 2.425 | 150.35 | 510.35
170 |  | 3" Dia Elbow Joint | 4 | 0% | 4 | EA | 72 | 288 | 0.485 | 62 | 1.94 | 120.28 | 408.28
171 |  | 3" X 2" X 3" Dia Wye Joint | 1 | 0% | 1 | EA | 86.5 | 86.5 | 0.727 | 62 | 0.727 | 45.074 | 131.574
172 |  | 3" X 3" X 2" Dia Wye Joint | 1 | 0% | 1 | EA | 86.5 | 86.5 | 0.727 | 62 | 0.727 | 45.074 | 131.574
173 |  | 3" X 3" X 2" Dia Wye-Com Joint | 5 | 0% | 5 | EA | 86.5 | 432.5 | 0.727 | 62 | 3.635 | 225.37 | 657.87
174 |  | 3" X 3" X 3" Dia Wye Joint | 3 | 0% | 3 | EA | 86.5 | 259.5 | 0.727 | 62 | 2.181 | 135.222 | 394.722
PLUMBING FIXTURES
175 |  | 3/4" Hose Bib | 3 | 0% | 3 | EA | 85.5 | 256.5 | 1 | 62 | 3 | 186 | 442.5
176 |  | Cleanout | 3 | 0% | 3 | EA | 251 | 753 | 1 | 62 | 3 | 186 | 939
177 |  | Lavatory | 3 | 0% | 3 | EA | 690 | 2070 | 2 | 62 | 6 | 372 | 2442
178 |  | Sink | 2 | 0% | 2 | EA | 615 | 1230 | 2.857 | 62 | 5.714 | 354.268 | 1584.268
179 |  | Double Compartment Kitchen Sink | 1 | 0% | 1 | EA | 645 | 645 | 2.857 | 62 | 2.857 | 177.134 | 822.134
180 |  | Water Closet | 2 | 0% | 2 | EA | 1025 | 2050 | 2.759 | 62 | 5.518 | 342.116 | 2392.116
181 |  | Bath Tub | 2 | 0% | 2 | EA | 2800 | 5600 | 4 | 62 | 8 | 496 | 6096
| DIV.23 | HEATING, VENTILATING AND AIR CONDITIONING (HVAC) | [12 empty] | 17116.5888
[12 empty] | Labor/Hour |  | 62
HVAC DUCTS
182 |  | 4" Dia Duct | 15 | 10% | 16.5 | LF | 2.83 | 46.695 | 0.047 | 62 | 0.7755 | 48.081 | 94.776
183 |  | 6" Dia Duct | 28.7417 | 10% | 31.6159 | LF | 3.14 | 99.2738 | 0.062 | 62 | 1.9602 | 121.5314 | 220.8052
184 |  | 7" Dia Duct | 39.308 | 10% | 43.2388 | LF | 3.59 | 155.2271 | 0.073 | 62 | 3.1564 | 195.6986 | 350.9257
185 |  | 8" Dia Duct | 39.9031 | 10% | 43.8935 | LF | 3.96 | 173.8181 | 0.089 | 62 | 3.9065 | 242.2041 | 416.0223
186 |  | 10" Dia Duct | 28.2425 | 10% | 31.0667 | LF | 4.59 | 142.5962 | 0.114 | 62 | 3.5416 | 219.5795 | 362.1757
187 |  | 12" Dia Duct | 16.4674 | 10% | 18.1141 | LF | 5.55 | 100.5334 | 0.16 | 62 | 2.8983 | 179.6922 | 280.2256
188 |  | 14" Dia Duct | 5.2687 | 10% | 5.7956 | LF | 6.75 | 39.1205 | 0.17 | 62 | 0.98526 | 61.0859 | 100.2064
DUCT TRANSITION
189 |  | 10" X 10" Duct Transition | 1 | 0% | 1 | EA | 45 | 45 | 0.4 | 62 | 0.4 | 24.8 | 69.8
190 |  | 10" X 8" X 6" X 6" Duct Transition | 1 | 0% | 1 | EA | 35 | 35 | 0.4 | 62 | 0.4 | 24.8 | 59.8
191 |  | 12" X 12" Duct Transition | 6 | 0% | 6 | EA | 50 | 300 | 0.4 | 62 | 2.4 | 148.8 | 448.8
192 |  | 14" X 14" Duct Transition | 2 | 0% | 2 | EA | 55 | 110 | 0.5 | 62 | 1 | 62 | 172
193 |  | 6" X 6" Duct Transition | 3 | 0% | 3 | EA | 35 | 105 | 0.4 | 62 | 1.2 | 74.4 | 179.4
194 |  | 7" X 7" Duct Transition | 7 | 0% | 7 | EA | 40 | 280 | 0.4 | 62 | 2.8 | 173.6 | 453.6
195 |  | 7" X 8" X 6" Duct Transition | 1 | 0% | 1 | EA | 40 | 40 | 0.4 | 62 | 0.4 | 24.8 | 64.8
196 |  | 8" X 8" Duct Transition | 6 | 0% | 6 | EA | 40 | 240 | 0.4 | 62 | 2.4 | 148.8 | 388.8
HVAC PIPE/INSULATION
197 |  | 4" Pvc Sleeve Underground For Refrigeration | 25 | 10% | 27.5 | LF | 29.5 | 811.25 | 0.333 | 62 | 9.1575 | 567.765 | 1379.015
|  | 7/8" Gas Pipe W/ 3/4" Thick Insulation | 25 | 10% | 27.5 | LF | 6.55 | 180.125 | 0.101 | 62 | 2.7775 | 172.205 | 352.33
|  | 3/8" Refrigeration Pipe W/ 3/4" Thick Insulation | 25 | 10% | 27.5 | LF | 3.16 | 86.9 | 0.095 | 62 | 2.6125 | 161.975 | 248.875
AIR DEVICES
Return Air Grille
198 |  | 12" X 12" Return Grille | 5 | 0% | 5 | EA | 125 | 625 | 0.364 | 62 | 1.82 | 112.84 | 737.84
199 |  | 14" X 14" Return Grille | 2 | 0% | 2 | EA | 125 | 250 | 0.444 | 62 | 0.888 | 55.056 | 305.056
Supply Diffuser
200 |  | 10" X 8" Supply Diffuser, Ceiling Type, 133 Cfm | 1 | 0% | 1 | EA | 176 | 176 | 0.571 | 62 | 0.571 | 35.402 | 211.402
201 |  | 10" X 8" Supply Diffuser, Ceiling Type, 140 Cfm | 1 | 0% | 1 | EA | 176 | 176 | 0.571 | 62 | 0.571 | 35.402 | 211.402
202 |  | 10" X 8" Supply Diffuser, Ceiling Type, 150 Cfm | 1 | 0% | 1 | EA | 176 | 176 | 0.571 | 62 | 0.571 | 35.402 | 211.402
203 |  | 10" X 8" Supply Diffuser, Ceiling Type, 170 Cfm | 2 | 0% | 2 | EA | 176 | 352 | 0.571 | 62 | 1.142 | 70.804 | 422.804
204 |  | 12" X 10" Supply Diffuser, Ceiling Type, 190 Cfm | 1 | 0% | 1 | EA | 176 | 176 | 0.571 | 62 | 0.571 | 35.402 | 211.402
205 |  | 14" X 8" Supply Diffuser, Ceiling Type, 226 Cfm | 1 | 0% | 1 | EA | 176 | 176 | 0.571 | 62 | 0.571 | 35.402 | 211.402
206 |  | 6" X 4" Supply Diffuser, Ceiling Type, 40 Cfm | 1 | 0% | 1 | EA | 165 | 165 | 0.5 | 62 | 0.5 | 31 | 196
207 |  | 6" X 6" Supply Diffuser, Ceiling Type, 50 Cfm | 1 | 0% | 1 | EA | 165 | 165 | 0.5 | 62 | 0.5 | 31 | 196
208 |  | 8" X 6" Supply Diffuser, Ceiling Type, 67 Cfm | 1 | 0% | 1 | EA | 165 | 165 | 0.5 | 62 | 0.5 | 31 | 196
EQUIPMENT
209 |  | A/C #2, 4 Ton, Voltage: 1-60-240, Total Capacity (Btu/Hr): 48000, Manufacturer: Rheem, Sens Capacity (Btu/Hr): 36000, C.F.M Supply: 1276, Seer/Eer: 16, Heating Capacity: 16 | 1 | 0% | 1 | EA | 3575 | 3575 | 26.403 | 62 | 26.403 | 1636.986 | 5211.986
210 |  | Exhaust Fan, Brand: Nutone, Mod: 696, Rpm: 1600, Amps: 0,76A, Voltage: 115V, 1Ph/60Hz, Cfm: 50 | 1 | 0% | 1 | EA | 185 | 185 | 2 | 62 | 2 | 124 | 309
211 |  | Master Bath Exhaust Fan, Brand: Panasonic, Mod: Fv-08Vqm, Rpm: 815, Amps: 0,76A, Voltage: 120V/1Ph/60Hz, Cfm: 50 | 1 | 0% | 1 | EA | 129.36 | 129.36 | 2 | 62 | 2 | 124 | 253.36
MISCELLENEOUS
212 |  | Back Draft Damper | 2 | 0% | 2 | EA | 77 | 154 | 0.727 | 62 | 1.454 | 90.148 | 244.148
213 |  | Programmable Thermostat | 1 | 0% | 1 | EA | 101.46 | 101.46 | 2.5 | 62 | 2.5 | 155 | 256.46
214 |  | Insulated Round Collar With Manual Volume Damper | 10 | 0% | 10 | EA | 122 | 1220 | 1 | 62 | 10 | 620 | 1840
215 |  | Roof Cap | 2 | 0% | 2 | EA | 79.21 | 158.42 | 0.727 | 62 | 1.454 | 90.148 | 248.568
| DIV.26 | ELECTRICAL | [12 empty] | 50782.3538
[12 empty] | Labor/Hour |  | 62
CONDUITS
216 |  | 1/2" Emt Conduit | 2035 | 10% | 2238.5 | LF | 0.81 | 1813.185 | 0.047 | 62 | 105.2095 | 6522.989 | 8336.174
217 |  | 1/2" CONN SS STL - EMT | 163 | 0% | 163 | EA
218 |  | 1/2" COUPLING SS STL - EMT | 204 | 0% | 204 | EA
219 |  | 1/2" 1-H STRAP - EMT - STEEL | 304 | 0% | 304 | EA
220 |  | 4X1 1/2" SQ BOX COMB KO | 21 | 0% | 21 | EA
221 |  | 4" SQ BLANK COVER | 21 | 0% | 21 | EA
222 |  | #8 TO #10 X 7/8 PLAS ANCHOR (3/16) | 406 | 0% | 406 | EA
223 |  | #10 X 1 P/H SELF-TAP SCREW | 406 | 0% | 406 | EA
224 |  | 3/4'' Emt Conduit | 80 | 10% | 88 | LF | 1.18 | 103.84 | 0.062 | 62 | 5.456 | 338.272 | 442.112
225 |  | 3/4" CONN SS STL - EMT | 7 | 0% | 7 | EA
226 |  | 3/4" COUPLING SS STL - EMT | 8 | 0% | 8 | EA
227 |  | 3/4" 1-H STRAP - EMT - STEEL | 13 | 0% | 13 | EA
228 |  | #8 TO #10 X 7/8 PLAS ANCHOR (3/16) | 17 | 0% | 17 | EA
229 |  | #10 X 1 P/H SELF-TAP SCREW | 17 | 0% | 17 | EA
230 |  | 2'' Emt Conduit | 60 | 10% | 66 | LF | 3.89 | 256.74 | 0.1 | 62 | 6.6 | 409.2 | 665.94
231 |  | 2" CONN SS STL - EMT | 5 | 0% | 5 | EA
232 |  | 2" COUPLING SS STL - EMT | 6 | 0% | 6 | EA
233 |  | 2" 1-H STRAP - EMT - STEEL | 10 | 0% | 10 | EA
234 |  | #8 TO #10 X 7/8 PLAS ANCHOR (3/16) | 13 | 0% | 13 | EA
235 |  | #10 X 1 P/H SELF-TAP SCREW | 13 | 0% | 13 | EA
CONDUCTORS
236 |  | 2#10, 1#10 Gnd, Cu Wire, Service For A/C Compressor | 45 | 10% | 49.5 | LF | 0.645 | 31.9275 | 0.024 | 62 | 1.188 | 73.656 | 105.5835
237 |  | 2#12, 1#12 Gnd, Cu Wire, Service For Receptacles | 700 | 10% | 770 | LF | 0.4095 | 315.315 | 0.02181 | 62 | 16.7937 | 1041.2094 | 1356.5244
238 |  | 2#12 Cu Wire, Service For Receptacles | 340 | 10% | 374 | LF | 0.273 | 102.102 | 0.01454 | 62 | 5.438 | 337.1535 | 439.2555
239 |  | 2#14 Cu Wire, Connection For Lighting | 360 | 10% | 396 | LF | 0.152 | 60.192 | 0.0123 | 62 | 4.8708 | 301.9896 | 362.1816
240 |  | 2#14, 1#14 Gnd, Cu Wire, Service For Lighting | 590 | 10% | 649 | LF | 0.228 | 147.972 | 0.01845 | 62 | 11.9741 | 742.3911 | 890.3631
241 |  | 2#6, Cu Wire, Service For Ahu | 40 | 10% | 44 | LF | 0.85 | 37.4 | 0.02462 | 62 | 1.0833 | 67.1634 | 104.5634
242 |  | 4#6, Cu Wire, Service For Range | 40 | 10% | 44 | LF | 1.7 | 74.8 | 0.04924 | 62 | 2.1666 | 134.3267 | 209.1267
243 |  | 3#2/0, Cu Wire For Panels | 60 | 10% | 66 | LF | 6.03 | 397.98 | 0.08277 | 62 | 5.4628 | 338.6948 | 736.6748
GROUNDING
244 |  | #4/0 Grounding Conductor | 20 | 10% | 22 | LF | 0.795 | 17.49 | 0.01509 | 62 | 0.33198 | 20.5828 | 38.0728
245 |  | 8' Length X 5/8" Dia Grounding Rod | 2 | 0% | 2 | EA | 35.5 | 71 | 1.509 | 62 | 3.018 | 187.116 | 258.116
LOW VOLTAGE AND OTHER ELECTRICAL DEVICES
246 |  | Smoke Detector | 4 | 0% | 4 | EA | 123 | 492 | 1.29 | 62 | 5.16 | 319.92 | 811.92
247 |  | Combination Of Smoke/Carbon Monoxide Detector | 1 | 0% | 1 | EA | 59 | 59 | 0.333 | 62 | 0.333 | 20.646 | 79.646
248 |  | Garage Door Push Button | 1 | 0% | 1 | EA | 40 | 40 | 1.333 | 62 | 1.333 | 82.646 | 122.646
RECEPTACLES AND SWITCHES
RECEPTACLES
249 |  | 110V Duplex Receptacle | 35 | 0% | 35 | EA | 42 | 1470 | 1.401 | 62 | 49.035 | 3040.17 | 4510.17
250 |  | 110V Duplex Receptacle, Ground Fault Circuit Interrupter | 7 | 0% | 7 | EA | 73 | 511 | 1.9 | 62 | 13.3 | 824.6 | 1335.6
251 |  | 110V Duplex Receptacle, Ground Fault Circuit Interrupter, Weather Proof | 6 | 0% | 6 | EA | 75.06 | 450.36 | 2.15 | 62 | 12.9 | 799.8 | 1250.16
252 |  | 220V Special Purpose Receptacle | 2 | 0% | 2 | EA | 45.5 | 91 | 1.401 | 62 | 2.802 | 173.724 | 264.724
253 |  | Single Receptacle Outlet, 20A | 4 | 0% | 4 | EA | 42 | 168 | 1.401 | 62 | 5.604 | 347.448 | 515.448
SWITCHES
254 |  | Single Pole Switch | 28 | 0% | 28 | EA | 37.5 | 1050 | 1.401 | 62 | 39.228 | 2432.136 | 3482.136
255 |  | Three Way Switch | 2 | 0% | 2 | EA | 35.5 | 71 | 1.6 | 62 | 3.2 | 198.4 | 269.4
LIGHTING FIXTURE
256 |  | Ceiling mount Light Fixture | 10 | 0% | 10 | EA | 280 | 2800 | 1.6 | 62 | 16 | 992 | 3792
257 |  | Fan With Light | 2 | 0% | 2 | EA | 735 | 1470 | 2 | 62 | 4 | 248 | 1718
258 |  | Fluorescent Lamp | 1 | 0% | 1 | EA | 165 | 165 | 1.2 | 62 | 1.2 | 74.4 | 239.4
259 |  | Pendant Mount Light Fixture | 3 | 0% | 3 | EA | 180 | 540 | 1 | 62 | 3 | 186 | 726
260 |  | Recessed Spot Light | 26 | 0% | 26 | EA | 300 | 7800 | 1.6 | 62 | 41.6 | 2579.2 | 10379.2
261 |  | Wall Mounted Light Fixture | 4 | 0% | 4 | EA | 253 | 1012 | 1 | 62 | 4 | 248 | 1260
DISCONNECT SWITCHES
262 |  | Non-Fused Disconnect Switch For Ac | 1 | 0% | 1 | EA | 85.5 | 85.5 | 2.5 | 62 | 2.5 | 155 | 240.5
263 |  | Non-Fused Disconnect Switch For Condensing Unit | 1 | 0% | 1 | EA | 85.5 | 85.5 | 2.5 | 62 | 2.5 | 155 | 240.5
264 |  | Non-Fused Disconnect Switch For Panel | 1 | 0% | 1 | EA | 85.5 | 85.5 | 2.5 | 62 | 2.5 | 155 | 240.5
265 |  | 200A Non-Fused Disconnect Switch | 1 | 0% | 1 | EA | 535 | 535 | 6.154 | 62 | 6.154 | 381.548 | 916.548
ELECTRICAL METER
266 |  | Electrical Meter, 200A, 22Kaic | 1 | 0% | 1 | EA | 390 | 390 | 0.911 | 62 | 0.911 | 56.482 | 446.482
EECTRICAL PANEL
267 |  | Electrical Panel, 200A, 22Kaic | 1 | 0% | 1 | EA | 1325 | 1325 | 2.963 | 62 | 2.963 | 183.706 | 1508.706
268 |  | New Cat-V Cabinet (Nema 3R) | 1 | 0% | 1 | EA | 542.95 | 542.95 | 4 | 62 | 4 | 248 | 790.95
269 |  | New Tel Cabinet (Nema 3R) | 1 | 0% | 1 | EA | 542.95 | 542.95 | 4 | 62 | 4 | 248 | 790.95
MISCELLENEOUS
270 |  | Exhaust Fan | 2 | 0% | 2 | EA | 365 | 730 | 1.42 | 62 | 2.84 | 176.08 | 906.08
| DIV.31 | EARTH WORK | [12 empty] | 4612.1362
[12 empty] | Labor/Hour |  | 56
EXCAVATION
271 |  | Excavation For Pad Footing: F-1 (3'-0" Deep) | 2 | 0% | 2 | CY |  | 0 | 2.92 | 56 | 5.84 | 327.04 | 327.04
272 |  | Excavation For Wall Footing: WF-1 (1'-0" Deep) | 11.1582 | 0% | 11.1582 | CY |  | 0 | 2.92 | 56 | 32.582 | 1824.5901 | 1824.5901
273 |  | Trench For 1" Water Service Line | 74.667 | 0% | 74.667 | LF |  | 0 | 0.03 | 56 | 2.24 | 125.4406 | 125.4406
274 |  | Trench For 3" Sanitary Line | 64.42 | 0% | 64.42 | LF |  | 0 | 0.03 | 56 | 1.9326 | 108.2256 | 108.2256
275 |  | 10'-0" Utility Easement | 723 | 10% | 795.3 | SF |  | 0 | 0.05 | 56 | 39.765 | 2226.84 | 2226.84
| DIV.32 | EXTERIOR IMPROVEMENTS | [12 empty] | 32739.8759
[12 empty] | Labor/Hour |  | 56
LANDSCAPING AND PLANTING
TREES
276 |  | Abbrevation:Qv1, Scientific Name: Quercuc Virginiana, Common Name: Live Oak, Size:12'-0" High X 4'-0" Diameter | 3 | 0% | 3 | EA | 243 | 729 | 3.2 | 56 | 9.6 | 537.6 | 1266.6
277 |  | Abbrevation:Qv2, Scientific Name: Quercuc Virginiana, Common Name: Live Oak, Size:10'-0" High X 4'-0" Diameter | 3 | 0% | 3 | EA | 243 | 729 | 3.2 | 56 | 9.6 | 537.6 | 1266.6
SHRUBS & GRASS
278 |  | Green Space Water Tolerant Bahia Grass | 4538 | 10% | 4991.8 | SF | 0.84 | 4193.112 | 0.016 | 56 | 79.8688 | 4472.6528 | 8665.7648
279 |  | Scientific Name: Podocarpus Macrophylus, Common Name: Podocarpus, Size:1'-6" High | 56 | 0% | 56 | EA | 40 | 2240 | 0.545 | 56 | 30.52 | 1709.12 | 3949.12
280 |  | Scientific Name: Chrysobalanus Icacao"Red Tip", Common Name: Red-Tipped Cocoplum, Size:1'-6" High | 24 | 0% | 24 | EA | 52.5 | 1260 | 0.3 | 56 | 7.2 | 403.2 | 1663.2
PAVEMENTS & SIDEWALKS
281 |  | 6" Thick Concrete Drive Way Reinforced With 6" X 6" W.W.M Over 6" Compacted Limerock | 574 | 5% | 602.7 | SF | 3.2 | 1928.64 | 0.047 | 56 | 28.3269 | 1586.3064 | 3514.9464
282 |  | Isolation Joints For Driveway | 85.54 | 10% | 94.094 | LF | 0.14 | 13.1732 | 0.01 | 56 | 0.94094 | 52.6926 | 65.8658
283 |  | 5' Wide Sidewalk | 1011 | 10% | 1112.1 | SF | 3.2 | 3558.72 | 0.047 | 56 | 52.2687 | 2927.0472 | 6485.7672
284 |  | Concrete A/C Pad | 9 | 5% | 9.45 | SF | 3.2 | 30.24 | 0.047 | 56 | 0.44415 | 24.8724 | 55.1124
285 |  | Temporary Construction Entrance Stabilized Entry/Exit Pad | 174 | 10% | 191.4 | SF | 1.34 | 256.476 | 0.012 | 56 | 2.2968 | 128.6208 | 385.0968
286 |  | 6'-7" Dia Sandstock Pile | 1 | 0% | 1 | EA | 13.2 | 13.2 | 0.005 | 56 | 0.005 | 0.28 | 13.48
287 |  | 6'-7" Dia Topsoil stock Pile | 1 | 0% | 1 | EA | 13.2 | 13.2 | 0.005 | 56 | 0.005 | 0.28 | 13.48
288 |  | 1:1 In Slope Proposed Berm (6" High From Grade) | 379.82 | 10% | 417.802 | LF | 0.5 | 208.901 | 0.046 | 56 | 19.2189 | 1076.258 | 1285.159
SITE IMPROVEMENTS
289 |  | Type-III Silt Fence As Per FDOT Index No.102 | 411.5 | 10% | 452.65 | LF | 1.01 | 457.1765 | 0.013 | 56 | 5.8845 | 329.5292 | 786.7057
290 |  | Type-IV Silt Fence | 38.8 | 10% | 42.68 | LF | 1.01 | 43.1068 | 0.013 | 56 | 0.55484 | 31.071 | 74.1778
291 |  | 2 1/2" Dia Softwood Post (3'-0" High) | 68 | 0% | 68 | EA | 22 | 1496 | 0.4 | 56 | 27.2 | 1523.2 | 3019.2
292 |  | 4" Dia Softwood Post For Fence (5'-0" High) | 4 | 0% | 4 | EA | 35 | 140 | 0.4 | 56 | 1.6 | 89.6 | 229.6
| DIV.33 | UTILITIES | [12 empty] | 4193.5364
[12 empty] | Labor/Hour |  | 56
WATER UTILITIES
293 |  | 1" Water Service Line | 74.667 | 10% | 82.1337 | LF | 9 | 739.2033 | 0.174 | 56 | 14.2913 | 800.3108 | 1539.5141
294 |  | 3" Sanitry Line Connected To Existing Sewer Line | 64.42 | 10% | 70.862 | LF | 13.1 | 928.2922 | 0.302 | 56 | 21.4003 | 1198.4181 | 2126.7103
295 |  | 2'-8" X 2'-4" Catch Basin w/ Grate | 1 | 0% | 1 | EA | 355 | 355 | 3.077 | 56 | 3.077 | 172.312 | 527.312
SUB TOTAL | [12 empty] | 456055.4335 |  | 456055.4335
OVERHEAD & PROFIT (25%) | [11 empty] | 25% | 114013.8584 |  | 114013.8584
TOTAL BID | [12 empty] | 570069.2919 |  | 570069.2919
Notes
This estimate is based on real market prices that are regularly updated by our team persons through market surveys and online resoures.